## ASHRAE HBDP Content Outline
ASHRAE High-Performance Building Design Professional (HBDP) Content Outline
Domains & Sub-Domains |  | Knowledge / Task (KT) Statements
*Note: Blue font text and strikethroughs = Updates to the exam content outline.
Domain 1 | General Information
A | High-Performance Building Design Sustainability Concepts
| 1 | Explain energy efficiency concepts
| 2 | Describe Explain the following: a. Commissioning, (e.g., owner's project requirements, basis of design, the commissioning process, measurement and verification, retrocommissoning) b. The design process, (e.g., integration, team formation, team dynamics, documentation requirements, energy modeling, building information modeling) c. Water usage efficiency (e.g., fixture and flow requirements, water utilization index) d. Environmental impact, (e.g., emissions, solid and fluid waste disposal)
| 3 | Identify demonstrate indoor environmental quality elements (e.g., thermal comfort parameters, ventilation, acoustics, chemical, human, and biological contaminants of concern, lighting)
| 4 | Analyze Evaluate the building envelope and its impact over indoor conditions and energy performance
| 5 | Consider Evaluate capital equipment options
| 6 | Explain what carbon is, how it is measured, and strategies for reduction
| 7 | Define net-zero energy building concepts Explain net-zero energy, net-zero GHG (Greenhouse Gas Emissions), and net-zero carbon building concepts
| 8 | Understand the definition of Explain life cycle analysis: a. Explain the different types of life cycles b. Identify Distinguish benefits and limitations of analysis methods c. Apply the LCA calculations for building systems and equipment
B | HVAC&R Processes
| 1 | Prepare the basis of design (BOD) based on the owner's project requirements (OPR)
| 2 | Obtain Assist in the development and refinement of the OPR as needed
| 3 | Identify, and evaluate analyze, and compare base and alternative systems: a. Selection b. Optimization c. Operability d. Maintainability e. Reliability
| 4 | Comply with Ensure applicable codes, standards, and guidelines are incorporated in the design and construction documents
| 5 | Utilize Incorporate applicable incentives when possible
| 6 | Design hydronic and air distribution HVAC&R systems to minimize energy consumption and greenhouse gas emissions
C | Sustainable Processes
| 1 | Utilization of natural Utilize sustainable resources
| 2 | Analyze Evaluate alternative and renewable energy sources: a. Solar assisted DHW heating including photovoltaic b. Wind c. Heat pumps (i.e., air to water, air to air, ground source) d. Geothermal e. Biomass
| 3 | Evaluate feasibility/options for a net-zero energy, net-zero GHG, and/or carbon neutral building
| 4 | Analyze implications of siting (e.g. access to public transportation, wetlands, erosion, impermeable surfaces, existing outdoor air quality, orientation)
| 5 | Review and/or recommend a maintenance plan that will help extend the life and operation of building equipment and systems
D | Environmental Improvement Programs and Rating Systems
| 1 | Advise customers on available programs and rating systems
| 2 | Explain pros, cons, and costs of programs and rating systems Distinguish among programs and systems (pros, cons, costs)
Domain 2 | Energy Analysis
A | Envelope/Massing/Orientation Optimization
| 1 | Perform Evaluate tradeoffs on the costs and benefits of alternative siting/orientation
| 2 | Determine the interaction between climate and the building envelope and impact of climate on design
| 3 | Analyze the impacts of thermal mass effect
| 4 | Analyze effect of envelope decisions on building energy
| 5 | Analyze effect of envelope decisions on infiltration and exfiltration building pressurization
B | Initial Assessment
| 1 | Identify and incorporate building facility parameters and owner project requirements into the basis of design
| 2 | Calculate preliminary building loads
| 3 | Calculate carbon footprint of the building
| 4 | Analyze and define system alternatives Determine alternative system concepts
| 5 | Identify interrelated processes and systems, and perform synergy analysis
| 6 | Analyze energy consumption for selected different options (e.g., modeling)
| 7 | Compare and select most appropriate alternative systems
C | Ventilation
| 1 | Natural: a. Analyze feasibility, benefits and consequences of alternatives b. Apply thermal gradient theories (e.g., stack effect, buoyancy)
| 2 | Mechanical: a. Analyze feasibility, benefits and consequences of alternatives b. Optimize zone loading with the mechanical system c. Apply different methods for calculating ventilation amount
| 3 | Integrate natural and mechanical ventilation into hybrid systems where applicable
| 4 | Identify key reference documents
| 5 | Determine appropriate energy recovery methods
| 6 | Assess Evaluate cross contamination risk
| 7 | Explore ventilation effects on overall building pressurization
D | Energy Compliance Modeling
| 1 | Apply modeling techniques to predict the following with respect to established targets: a. Code compliance b. Energy consumption c. Emissions impact
| 2 | Distinguish differences among energy modeling techniques
| 3 | Define energy modeling limitations and apply alternative calculation methods
E | Carbon Emissions Compliance
| 1 | Apply modeling techniques to predict carbon emissions with respect to established targets
| 2 | Distinguish differences among carbon emission modeling techniques
| 3 | Define carbon emissions modeling limitations and apply alternative calculation methods
Domain 3 | Indoor and Site Environment
A | Thermal Comfort
| 1 | Identify: a. Comfort variables that affect the occupant (e.g. operative temperature, clo value, metabolic rate, etc.) b. Key reference documents c. Thermal comfort requirements in owner project requirements of individuals and groups
| 2 | Zone the building and determine building zone pressurization requirements to optimize comfort and energy efficiency
| 3 | Plan individual control and zoning strategies to optimize comfort and energy efficiency
B | Air Quality
| 1 | Control Identify indoor air contaminants/pollutants of concern and design to minimize impacts
| 2 | Identify Incorporate outdoor air ventilation requirements into building design
| 3 | Analyze Implement indoor and outdoor air quality strategies
| 4 | Recognize applications requiring additional governmental and regulatory codes
| 5 | Recognize impact of external environment
C | Lighting
| 1 | Integrate the occupant's mission with the owner's project requirements into the lighting requirements
| 2 | Analyze visual quality of the lighted space
| 3 | Integrate daylighting and lighting with lighting controls where applicable
| 4 | Assess site lighting goals
| 5 | Utilize energy modeling to assess various lighting options
D | Sound and Vibration
| 1 | Define key acoustic metrics (e.g., NC/RC; STC; SPL; dBA)
| 2 | Identify the sources of noise from mechanical system
| 3 | Design to minimize the sources of noise from mechanical system
Domain 4 | Controls and Monitoring
A | Control Hardware
| 1 | Establish sensor, instrumentation, and calibration requirements
| 2 | Define Describe the control functions of the equipment
| 3 | Determine the need for Describe the central monitoring and control requirements, such as: a. Trending (e.g., points, logging intervals, storage capacity) b. Alarms c. Remote access d. Levels of access
B | Control Strategies
| 1 | Establish control sequences that meet the owner's objectives project requirements and occupant requirements, optimize energy, and support sustainability.
| 2 | Integrate Ensure that controls are compatible with the equipment and systems
| 3 | Instruct building operators in proficient systems operation system functions
| 4 | Establish: a. Operator training requirements b. Operating and maintenance procedures c. Reporting requirements
| 5 | Incorporate energy and GHG reporting capabilities
| 6 | Optimize control sequences for energy conservation and comfort
Domain 5 | Benchmarking with Performance Metrics
A | Project Performance Measurement
| 1 | Identify the project performance goal of each building system or entire building as a wholements Assess the efficiency of information transfer on high-performance requirements
| 2 | Assess the financial and time schedule impacts of implementing sustainable energy efficiency strategies principles
B | Energy Performance Verification
| 1 | Measure the overall performance of a building
| 2 | Normalize performance data and trends
| 3 | Compare the performance of a building against: a. Projections b. Similar buildings c. Other comparative metrics
C | Environmental Performance Measurement
| 1 | Compare Identify building utility consumption impact on target carbon emission measures to goals
| 2 | Develop plan to achieve short- and long-term carbon emission goals Compare emissions measures to goals.
| 3 | Compare Evaluate occupant satisfaction measures to goals
Domain 6 | Water Conservation
A | Storm Water Management
| 1 | Analyze Evaluate the feasibility of storm water harvesting options and uses
| 2 | Define: a. Storage methods and quantities b. Treatment Options c. End uses
| 3 | Calculate optimum capacity and use
| 4 | Apply best management practices
B | Domestic Potable Water Management
| 1 | Analyze Evaluate fixture selections and their impact on potable water consumption
| 2 | Evaluate the feasibility to condition and reuse process and wastewater
| 3 | Investigate alternatives to using potable water for site determine irrigation reductions and alternative sources of process water
| 4 | Develop strategies to reduce potable water consumption for using: a. Recycled or reclaimed water b. Non-potable water harvesting c. Irrigation optimization d. Types of vegetation and planting (i.e., xeriscaping, native or adapted plants)
Domain 7 | Commissioning
A | Documentation
| 1 | Identify unique requirements and utilize best practices for sustainable construction
| 2 | Determine Assist in the development of the owner's objectives and criteria project requirements and basis of design
| 3 | Define commissioning scope and system acceptance requirement or criteria
| 4 | Develop commissioning documentation (e.g., commissioning plan, specification, checklist) Specify systems and operations.
| 5 | Review the sequences of operations and provide feedback during the design phase (e.g., ASHRAE Guideline 36)
| 6 | Identify Validate the sequences of operations conform to specifications in the field
B | Commissioning Process
| 1 | Integrate quality control during commissioning into design and construction
| 2 | Verify quality assurance and control measures are implemented in design and construction
| 3 | Verify completion of project turnover and conduct post-occupancy review of the commissioned systems Evaluate post-occupancy performance
| 4 | Develop a feedback/ Recommend corrective actions methodology
| 5 | Verify completion of the corrective work Implement corrective actions
Domain 8 | Energy and Materials Use and Management
| 1 | Encourage the owner to hire an energy manager
| 2 | Identify needed competencies of staff whil will service a building
| 3 | Implement a maintenance plan
| 4 | Recommend sustainable practices for: a. Housekeeping and site management b. Renovation projects
End of Content Outline