|  |  |
| --- | --- |
| ASHRAE Technical FAQ | |
| |  |  |  |  | | --- | --- | --- | --- | |  | | | | | ID | 53 | | |  | | | | Question | Does BACnet apply to residential and simple control systems? | | |  | | | | Answer | BACnet is a communication protocol that is not limited to large systems and can easily support simple two-device systems. When information needs to be transferred between two or more devices BACnet is very much capable of performing that task. | | |  | | | | ASHRAE Pubs | [ASHRAE Standard 135-2020](https://www.techstreet.com/ashrae/standards/ashrae-135-2020?product_id=2191852) - BACnet - A Data Communication Protocol for Building Automation and Control Network | | |  | | | | Topic References | BACnet, residential control systems | | |  | | | | | |  |  |  | | --- | --- | --- | |  | Cognizant ASHRAE Committees | Refer to Organization | | 1 | [TC 1.4](http://tc14.ashraetcs.org/) |  | | 2 | [SSPC 135](http://www.bacnet.org) |  | | 3 |  |  | | 4 |  |  | | 5 |  |  | | | |  | | | | |  |